**Opportunity to Bid**

The Meade County Fiscal Court will be accepting sealed bids for conversion of the existing natural softball infield to synthetic turf including excavation, stone, drainage, synthetic turf system and infill materials at Meade Olin Park. Sealed bids should be remitted to Meade County Judge/Executive's Office at 516 Hillcrest Drive Brandenburg, KY 40108 no later than Friday, September 1st by 4:00 p.m. Meade County Fiscal Court reserves the right to reject any and all bids submitted.

**Meade County Fiscal Court**

**Bid Specs**

**Provide services for conversion of the existing natural softball infield to synthetic turf including excavation, stone, drainage, synthetic turf system and infill materials at Meade Olin Park.**

* Provide laser grading and survey plot.
* Remove existing fencing for site access.
* Excavate site – remove spoils offsite.
* Cut and cap existing irrigation system.
* Explore and maintain existing electrical.
* Design and install drainage/storm management system.
* Install substrate.
* Furnish and install erosion control system.
* Furnish and install synthetic turf and infill system on infield.
* Furnish and install 5’ sod collar at infield to outfield transition.
* Provide two replacement pieces for L and R batters boxes, catchers box and pitching mound throwing area. Replacement pieces to be stored onsite.
* Furnish and install one home plate, one pitching rubber and one set of base anchors.
* Pitching rubber and circle to be located at 43’.
* Base anchors to be located at 60’.
* Tick marks to be located at 65’ for additional bases.
* Furnish additional crumb rubber to be stored onsite.
* Furnish equipment necessary to sweep and maintain the field.
* Re-install fencing removed for access and construction upon completion.
* Include a warranty package.
* All work must be completed by March 1st 2024.
* Contractor is responsible for all clean up.
* Must be bonded and insured time of completion date.

Alternatives-Please provide pricing for each and a decision will be made based on price.

* Install synthetic turf system for each of the bullpens including 4 pitching rubbers and 4 home plates.
* Include multi-step deep clean program which includes decompaction, vacuuming, contract disinfectant.

 Any questions or concerns please contact Steven Powell, Parks Director 270-750-8290.