**Opportunity to Bid**

The Meade County Fiscal Court will be accepting sealed bids for replacing recirculating pumps for the Meade County Courthouse. Sealed bids should be remitted to Meade County Judge/Executive's Office at 516 Hillcrest Drive Brandenburg, KY 40108 no later than Friday, August 25th by 4:00 p.m. Meade County Fiscal Court reserves the right to reject any and all bids submitted.

**Meade County Fiscal Court**

**Bid Specs**

**Replacing Recirculating Pumps-Meade County Courthouse**

* Replace 3 recirculating pumps
* Drain the entire system down
* Remove existing pumps and insulation
* Reinstall new pumps and piping
* New isolation valves
* New inline drains
* Re-wire the new pumps
* Re-insulate the piping
* Fill the system back up with water
* Remove all the air
* Test for Operation
* 2- year parts and labor warranty
* Contractor is responsible for all clean up
* Must be bonded and insured time of completion date

 Any questions or concerns please contact Andy Weick, Facilities Manager 270-422-3967.